UOLUN

Craftsmanship

INTERNATIONAL

LOCAL 26

with Pride

IBEW

BROTHERHOOD

Chartered 1892

Washington, D.C.

SOMED

ЅНЗИНОМ

OF ELECTRICAL

VIRGINIA STATE

SKILLS U.S.A CHAMPIONSHIP 2025

PROUDLY SPONSORED BY THE ELECTRICAL TRAINING ALLIANCE

STUD 1

STUD 2

STUD 3

STUD 4

MAIN PANEL "A"

Procedures - Part 1:

1.) Install Panel "A" at 52" to the bottom of panel using screws, centered between studs 1 and 2. 2.) Light fixture boxes at 80" on center with box

"B" mounted on stud 4 and box "C" mounted

on stud 3.

3.) All switch boxes mounted at 50" to center using

plastic boxes.

4.) Small appliance receptacle boxes "D" and "E" mount at 36" to center using plastic boxes on studs 1 and 2.

5.) Wire receptacles "D" and "E" as a kitchen

counter circuit with "D" as a GFCI receptacle and "E" as GFCI protected.

6.) Receptacles "F", "G", and "H" mount 12" to center using plastic boxes on studs 1, 2, and 4 (see drawing).

7.) Switches "I", "J", and "K" control light "B" with

the feed at the light. These switches should be mounted on studs 2, 3, and 4 (see drawing).

8.) Switch "L" controls light "C" with the feed at

the light. Mount box for switches "M" and "L" on stud 4.

9.) Switch "M" and switch "P" controls the top half

of receptacles "F" and "G" simultaneously with the bottom half energized all the time. 10.) Receptacle "H" is an un-switched receptacle. 11.) Receptacles "F", "G", and "H" are on the same

circuit as light "C".

12.) Receptacle box "N", a 2 gang plastic box

mounted 30" to center, is for a NEMA 14-30R flush mounted dryer receptacle.

13.) All wiring is to be done using type "NM" cable. 14.) All measurements are from the finished floor.

15.) Battery drills may be used.

16.) Work will be judged primarily on accuracy,

adherence to the National Electrical Code, safety, and overall neatness.

W

F

LL

D

A Powerful Advantage

NECA

NATIONAL ELECTRICAL CONTRACTORS ASSOCIATION

Procedures - Part 2:

1.) Complete pipe bending project using

1

2

1" EMT.

2.) Boxes "A" & "B" are to be mounted

using screws.

3.) The conduit shall be fabricated as

shown on the drawing.

4.) Box offsets are required.

5.) The pipe shall be securely fastened

using 1-hole straps.

6.) Work will be judged on the accuracy of the bends, accuracy of conduit placement, adherence to the National Electrical Code, and overall neatness.

7) Use the center hole of junction box

only!

3" from Left wall or edge

B

A

4"

PI K

JML

Finished Floor

17

N

WORK SAFELY !!!

I

32"

B

36"

1.)

2.)

2025 ELECTRICAL WIRING COMPETITION SPECIFICATIONS

All work shall conform to the 2023 National Electrical Code and shall

be installed in a neat and workmanlike manner.

Proper safety equipment has been supplied. You shall utilize this equipment while performing your work.

3.)

All studded walls will finish with /2" drywall.

4.)

All boxes shall be plastic boxes unless otherwise noted.

5.)

All materials and equipment have been provided and each individual should make their own decisions for their installations.

6.)

All measurements for box installations shall be to the center of the boxes.

7.)

All devices are to be side wired only.

8.)

9.)

Leave all devices in positions to be screwed to boxes for judges to

inspect. Do not attach devices or fixtures to the outlet boxes and do not wrap

tape on devices.

Upon completion of the project, notify one of the judges and

remain at your work station.