Heating, Ventilation, Air Conditioning and Refrigeration

(HVACR)- 2026

March 10th, 2026 – 8 a.m.

Virginia Beach Convention Center

1000 19th St. Virginia Beach, Virginia

Please refer to the current SkillsUSA Virginia Technical Standards for detailed description of guidelines and requirements.  The scope of the contest will be drawn from these standards. NOTE: ALL contest are subject to increased difficulty levels from previous state competitions in order to align the scope and skill level to that of National Competitions.

- Resumes, one page go to www.vaskillsusa.org State Leadership Conference Announcements for Resume Worksheet; resume is worth 10% of the total contest score.

- OSHA card, certificate or letter verifying OSHA training

- Contestants should report a few minutes early to the contest site with their nametag turned so that their contestant number is showing.

- Depending on the number of contestants there may be multiple start times to accommodate a successful and fair competition.

- The contest is not considered over until the area has been cleaned.

Clothing & PPE List:

- Official SkillsUSA khaki work shirt or SkillsUSA Virginia conference t-shirt

- Long pants

- Black or brown leather work shoes

- Safety glasses with side shields or goggles. (Prescription glasses can be used only if they are equipped with side shields. If not, they must be covered with goggles.)

- Gloves with appropriate dexterity to be used at each station.

Contestant's Tool List:

Each Air Conditioning & Refrigeration competitor should bring the following tools and meters to the contest:

| 1. Flare Block and yoke | 13. | Two thermometers or an |
| --- | --- | --- |
| 2. Swaging tool |  | electronic thermometer with |
| 3. Tube cutter (copper) |  | two probes |
| 4. Sand cloth/Scotch-Brite Pad | 14. | Volt-Ohm meter with Amp Clamp |
| 5. Gauge manifold | 15. | Nut driver set |
| 6. Wiping cloth | 16. | Pressure temperature chart |
| 7. Measuring tape | 17. | 10” crescent wrench |
|  | 18. | Common pliers |
| 9. Flare nut wrench or | 19. | Lineman pliers |
| equivalent | 20. | Service valve wrench |
| 10. Ball peen hammer | 22. | Screwdrivers, straight and Phillips |
| 11. Deburring tool | 22. | Thermostat screwdriver |
|  | 23. | Resume |

SkillsUSA Virginia

Heating, Ventilation, Air Conditioning and Refrigeration (HVACR)

State Contest 2026

Station 1: Piping Project (30 minutes)

Interpret piping diagram, assemble piping using appropriate methods, braze as needed per instruction, and pressurize for testing.

Station 2: Mechanical Troubleshooting & Inspection (Refrigeration) (30 minutes)

Read work order ticket and diagnose problem with Water Source Heat Pump system. Perform operational inspection on system.

Station 3: Electrical Wiring (30 minutes)

Read given diagram and wire up provided components to simulate an electric furnace and air conditioning operation.

Station 4: Component Identification and Diagnosis (15 minutes)

Using the proper instruments and procedures, determine and explain the nature of each component, and log your answer.

Station 5: Interview (15 minutes)

Students will conduct a job interview answering a series of questions.

Station 6: Written exam (30 minutes)

Answer general knowledge questions pertaining to the air conditioning and refrigeration field.

2.5 hours

SkillsUSA Virginia

Heating, Ventilation, Air Conditioning and Refrigeration (HVACR) State Contest 2026

Contestants Instructions

Station:  1 – Piping Project

Time Limit:    30 minutes

The purpose of this station is to test the proficiency of the contestant in the use of the tools and materials used to fabricate piping as needed in the field. The project is simple but will require all the skills and speed the contestant can muster to do it accurately in the time allotted.

Accuracy is very important.

Use the below instructions to build your project. Be as neat and craftsman like as you can.

Project Instructions

- Cut 1 piece of 7/8” hard drawn copper 4 ½” long and fit reducers on each end.

- Cut 1 piece of 3/8” tubing 3 1/2” long and flare one end, insert the other into previously fitted 7/8” x 3/8” reducer.

- Cut 1 piece of 3/8” tubing 2 1/2” long and swage 1 end, insert the other into previously fitted 7/8” x 3/8” reducer.

- Insert 3/8” ODS access fitting into swaged end of 3/8” tubing.

- Silver braze connections as required using an acetylene torch.

- Install flared reducing union.

- Tighten all fittings and have the judge test for leaks.

Purging with nitrogen while brazing is a requirement.

Please refrain from asking the judge about proper procedures as they are only responsible for pressure testing and material distribution.

You will be judged on the following:

- Proper use of tools and instruments.

- The accuracy of your measurements.

- Integrity and neatness of your finished product.

- General safety practices.

- Leaks

SkillsUSA Virginia

Heating, Ventilation, Air Conditioning and Refrigeration (HVACR)

State Contest 2026

Contestants Instructions

Station 2: Mechanical Troubleshooting & Inspection

Time Allowed:    30 minutes

This exercise involves diagnosing and performing an operational inspection on a water source heat pump system:

- Perform operational inspection of water source heat pump and determine if there are indications of improper operation.

- Troubleshoot any issues found and provide a diagnosis.

Record the following readings:

- Suction pressure

- Discharge pressure

- Superheat

- Subcooling

- Compressor amperage

- Entering indoor temp

- Leaving indoor temp

Fill out the provided service ticket and hand to the judge when complete.

You will be judged on the following:

- Proper safety procedures.

- Proper use of tools and/or instruments.

- Diagnostics

- Proper processes.

- Accuracy of readings.

SkillsUSA Virginia

Heating, Ventilation, Air Conditioning and Refrigeration (HVACR)

State Contest 2026

Contestants Instructions

Station 3: Electrical Wiring

Time Allowed:  30 minutes

This exercise involves wiring a conventional air conditioning system with a thermostat using the wiring diagram provided and check for proper operation.

After wiring is complete, run through the following sequence:

- Cut fan only switch to on, light labeled high speed fan should come on, then cut fan switch back to auto

- Second put thermostat in cool mode and lower set point. Cool light and fan light should come on. Then raise set point so that lights cut off.

- Third cut thermostat to heat mode and raise set point. Heat light and fan should come on. Then lower set point so that lights cut off.

- Lastly, remove all of your low voltage wiring so board is ready for next contestant just like you found it.

NOTES:

- Follow all normal safety procedures.

- Use proper tools and/or instruments.

- Perform task in proper sequence.

- Return all equipment to proper state when finished.

SkillsUSA Virginia

Heating, Ventilation, Air Conditioning and Refrigeration (HVACR) State Contest 2026

Contestants Instructions

Station 4: Component Identification and Diagnosis

Time Allowed:    15 minutes

This exercise involves the identification and diagnostic testing of components.

Using the proper tools you are to:

- Identify each component and record the corresponding number next to the proper name on the sheet provided.

- Answer any questions corresponding to the part on the sheet provided using necessary tools as needed.

- Provide your answers to the judge when you are complete.

NOTES:

- Follow all normal safety procedures.

- Use proper tools and/or instruments.

- Perform task in proper sequence.

- Return all equipment to the proper place when finished.

SkillsUSA Virginia

Heating, Ventilation, Air Conditioning and Refrigeration (HVACR)

State Contest 2026

Contestants Instructions

Station 5: Written Test

Time Allowed:    15 minutes

This exercise involves an interview with a human resource manager of a major HVAC company:

Using your communications skills, you are to:

Answer each question the judge asks of you with the intent you are trying to land a job at a major HVAC company and begin your career path. Have fun with this, and remember you are trying to convince this person you are the right person for the job.

SkillsUSA Virginia

Heating, Ventilation, Air Conditioning and Refrigeration (HVACR)

State Contest 2025

Contestants Instructions

Station: 6

Time Allowed:    30 minutes

Read each question carefully on the provided written test. Follow the directions for each section. Be sure to write your contestant number on your answer sheet.  When you have finished, turn paper over so we know you are complete.

This Contest Update must be signed by student and advisor and is to be submitted to chairman upon arrival to the contest area the day of competition.

Advisor:  _______________________________  Date:________

Student:  _______________________________  Date:________